## Introduction (hidden)
Infrastructure Deployment Services
Network Deployment Workbook
Important! Please Read Before Continuing
This workbook contains a survey of the proposed solution that Dell will be implementing. It is very important that
you review this information for accuracy and make any corrections or additions prior to the scheduled design call.
This document can be returned without IP information if it is unknown at this time, but please try to have it at the
time of the call.
Instructions
Fill in or correct all of the information in the yellow boxes. As you enter information, new areas may open up
depending on your answers. Please do not remove or add row or columns since formulas or calculations might
depend on those rows or columns. Any additional instruction will be contained in the light blue fields throughout
this workbook.
Navigation
Review tab and ensure all information is correct. Once completed, please save the changes and return to your
project manager as soon as possible. In most cases this information will be needed in order for your Project
Manager to continue with your deployment arrangements.
Network Deployment Questions
In order to capture your environment and also to provide a design document that provides as much information
about your deployment as possible, please document as much of the requested information as possible.
The IP Address, Subnet Mask and Gateway helps to give us an idea of the current IP network scheme and also lets
us know whether or not IP addresses have been allocated for the new systems.
The ISCSI IP Address, Subnet mask and Gateway also lets us know that you have considered the Best practice of
placing all ISCSI data traffic on its own subnet or Vlan.
If certain details can not be provided due to security reason, we ask that you fill out what ever information you can
even if generic terms are used.
Revision History
Version No. | Issue Date | Status | Reason for Change
1
1.1
1.2
1.3

## Contact Info (hidden)
SHIP SITE / INSTALL SITE INFORMATION
Ship-To Company Name |  | Site Install Company Name |  | Notes
Ship-To Address |  | Install Address
INSTALLATION SITE CUSTOMER CONTACTS
| Primary Contact |  | Secondary Contact
Name
Contact Number
Pager/Cell
Email Address
DELL CONTACTS
| Account Executive (AE) |  | System Consultant (SC)
Name
Office Number
Pager/Cell
Email Address
| Technical Sales Rep (TSR) |  | Inside Sales Rep (ISR)
Name |  |  |  | Customer Number
Office Number |  |  |  | DellStar Configuration ID
Pager/Cell |  |  |  | DOM/Gii ID
Email Address |  |  |  | Segment
TSR Manager
| Project Manager (PM) |  | Planning Engineer (PE)
Name |  |  | Wagner Mota
Office Number |  |  | (512) 728-8085
Pager/Cell |  |  | (425) 919-4284
Email Address |  |  | wagner_mota@dell.com
Project ID
Special Consideration
After Hours/Weekend service required
S&P SKUs included with this deal
Note on C29: ***REQUIRED*** Insert the TSR's manager name. Added as a BPI project

## Equipment List (hidden)
Equipment List
| Dell Order# | SKU # | Description | Qty | Legend
Switches/Servers
Modules/Connectors
Services

## Topology (hidden)
Insert the Drawing here.

## Planning
VLANs
ID | Description | Column1 | Column2
110 | OOB | 192.168.110.0/24 | gateway = 192.168.110.1
120 | Provision | 192.168.120.0/24 | gateway = 192.168.120.1
140 | Private API Netwi | 192.168.140.0/24 | gateway = 192.168.140.1
157 | NGN-157 *SAH | 10.148.44.62-83 | gateway = 10.148.44.254
170 | Storage Network | 192.168.170.0/24 | gateway = 192.168.170.1
180 | Ceph Cluster | 192.168.180.0/24 | gateway = 192.168.180.1
190 | External Network | 192.168.190.0/24 | untagged bond1 gw: 192.168.190.254
201-210 | Internal Networks | 192.168.201-210.0/24 | tagged bond0 VLANs 201-210

## AUR11-Inventory
Name | Alias | Hardware | Service Tag | NGN-157 | iDRAC VLAN 110 | Stoneith (em4) VLAN 110 | Provision VLAN 120 | Private API VLAN 140 | Storage VLAN 170 | Ceph Cluster VLAN 180 | External Net (bond1) | bond0 - Internal Net VLAN 201 | CPU | RAM | Drives | BIOS Version | LifeCycle FW | iDRAC FW | RAID Created | H710 FW
R11RHJP1 | R11R620JP1 | VM on AURCBDvC1 | VM | 10.148.44.176 |  |  | 192.168.120.176 | 192.168.140.176 | 192.168.170.176 |  | 192.168.190.176 | 192.168.201-220.176 | [7 empty] | 21.3.0-0009
r11rh7sah | r11rh7sah | PowerEdge R620v2 | F5V2K02 | 10.148.44.177 (Anaconda 10.148.44.180) | 192.168.110.177 | [7 empty] | (2P) 2.4Ghz 8-cores/cpu | 128 GB | 2.5 x (4) 1.2TB SAS 10K | 2.2.3 | 1.4.2.12 | 1.57.57 | RAID 10
r11rh6fore | r11rh6fore |  | VM | 10.148.44.178 |  |  | 192.168.120.178
r11rh7ceph | Ceph Admin |  | VM | 10.148.44.179 |  |  |  |  | 192.168.170.179 | [10 empty] | 21.3.0-0009
r11rh7cntl1 | r11rh7cntl1 | PowerEdge R620v2 | F5V1K02 |  | 192.168.110.180 | 192.168.110.190 | 192.168.120.180 | 192.168.140.180 | 192.168.170.180 |  | 192.168.190.180 |  | (2P) 2.4Ghz 8-cores/cpu | 128 GB | 2.5 x (4) 1.2TB SAS 10K | 2.2.3 | 1.4.2.12 | 1.57.57 | RAID 10 | 21.3.0-0009
r11rh7cntl2 | r11rh7cntl2 | PowerEdge R620v2 | F5V4K02 |  | 192.168.110.181 | 192.168.110.191 | 192.168.120.181 | 192.168.140.181 | 192.168.170.181 |  | 192.168.190.181 |  | (2P) 2.4Ghz 8-cores/cpu | 128 GB | 2.5 x (4) 1.2TB SAS 10K | 2.2.3 | 1.4.2.12 | 1.57.57 | RAID 10 | 21.3.0-0009
r11rh7cntl3 | r11rh7cntl3 | PowerEdge R620v2 | F5VZJ02 |  | 192.168.110.182 | 192.168.110.192 | 192.168.120.182 | 192.168.140.182 | 192.168.170.182 |  | 192.168.190.182 |  | (2P) 2.4Ghz 8-cores/cpu | 128 GB | 2.5 x (4) 1.2TB SAS 10K | 2.2.3 | 1.4.2.12 | 1.57.57 | RAID 10 | 21.3.0-0009
r11rh7nova1 | r11rh7nova3 | PowerEdge R620v2 | F5V0K02 |  | 192.168.110.183 | 192.168.110.193 | 192.168.120.183 | 192.168.140.183 | 192.168.170.183 |  |  |  | (2P) 2.4Ghz 8-cores/cpu | 128 GB | 2.5 x (4) 1.2TB SAS 10K | 2.2.3 | 1.4.2.12 | 1.57.57 | RAID 10 | 21.3.0-0009
r11rh7ss1 | R11R720xd#1 | PowerEdge R720XDv2 | DZM4K02 |  | 192.168.110.184 |  | 192.168.120.184 |  | 192.168.170.184 | 192.168.180.184 |  |  | (2P) 2.6Ghz, 8-core /cpu | 128 GB | (2) 200GB SSD, (10) 4TB +(2) Flexbay OS | 2.2.3 | 1.4.2.12 | 1.57.57 | R1-Flexbay, (2) SSD +(10) 4TB | 21.3.0-0009
r11rh7ss2 | R11R720xd#2 | PowerEdge R720XDv2 | DZM3K02 |  | 192.168.110.185 |  | 192.168.120.185 |  | 192.168.170.185 | 192.168.180.185 |  |  | (2P) 2.5GHz -10-core/cpu | 128 GB | (2) 200GB SSD, (10) 4TB +(2) Flexbay OS | 2.2.3 | 1.4.2.12 | 1.57.57 | R1-Flexbay, (2) SSD +(10) 4TB | 21.3.0-0009
r11rh7ss3 | R11R720xd#3 | PowerEdge R720XDv2 | JL6M9Z1 |  | 192.168.110.186 |  | 192.168.120.186 |  | 192.168.170.186 | 192.168.180.186 |  |  | (2P) 2.5GHz -10-core/cpu | 128 GB | (2) 200GB SSD, (10) 4TB +(2) Flexbay OS | 2.2.3 | 1.4.2.12 | 1.57.57 | R1-Flexbay, (2) SSD +(10) 4TB
autosahLin | SAH |  | VM | 10.148.44.187 |  |  |  | 192.168.140.187
autosahLinDev | SAH |  | VM | 10.148.44.188 |  |  |  | 192.168.140.188
autoSahWin | RCBD.lab |  | VM | 10.148.44.24 | 192.168.110.24 |  | 192.168.120.24
|  | Username | Password
R11-Dell KVM | 10.148.45.42 | crowbar | Crowbar1
R11-R720 ESXi 5.02 Jmpbox & Fedora VMs | 10.148.44.175 | root | cr0wBar! | 10.148.45.90 =iDRAC
Force10 S4810 OOB-Mgmt IP | 10.9.244.50 | crowbar | cr0wBar!
Force10 S55 OOB-Mgmt IP | 10.9.244.51 | crowbar | cr0wBar!
to reach the switches = RDP 10.148.44.21
|  |  |  | Public VIPS |  | Private VIPs
CEPH Storage Cluster |  |  |  | N/A | AMQP (RabbitMQ) | 192.168.140.50
r11rh7ceph | root & sss35f | cr0wBar! |  | 192.168.190.51 | Ceilometer | 192.168.140.51
r11rh7ss1.r11.rcbd.lab | root & sss35f | cr0wBar! |  | 192.168.190.52 | Cinder | 192.168.140.52
r11rh7ss2.r11.rcbd.lab | root & sss35f | cr0wBar! |  | N/A | Mysql | 192.168.140.53
r11rh7ss3.r11.rcbd.lab | root & sss35f | cr0wBar! |  | 192.168.190.54 | Glance | 192.168.140.54
|  |  |  | 192.168.190.55 | Heat/Heat CFN | 192.168.140.55
|  |  |  | 192.168.190.56 | Heat CFN | 192.168.140.56
|  |  |  | 192.168.190.57 | Horizon | 192.168.140.57
|  |  |  | 192.168.190.58 | Keystone | 192.168.140.58
|  |  |  | N/A | loadbalancer | 192.168.140.59
|  |  |  | 192.168.190.60 | Neutron | 192.168.140.60
|  |  |  | 192.168.190.61 | Nova | 192.168.140.61

## Sheet1
Name | Alias | Hardware | Service Tag | NGN-157 | iDRAC VLAN 110 | Provision VLAN 120 (em3) | Private API VLAN 140 (bond0) | Stoneith (em4) for iDRAC reset | Storage VLAN 170 | Ceph Cluster VLAN 180 (bond1) | External Net (bond1) | bond0 - Internal Net VLAN 201 | CPU | RAM | Drives | BIOS Version | iDRAC FW | RAID Created | Notes

## Cut-Sheet April 2015
host name | Model | host port | Media Type | rack | position | VLAN untagged | VLAN tagged | host name | Model | Bond # | MAC | NIC Port | position | cable color | description/notes | R620v2 Backview of (2) Dual Port 10 GB NICs
AUR11-S4810 | S4810 | 0/0 | SFP+ |  |  |  | 120, 140, 170, 190, | r11rh7sah | R620v2#1 |  | Bond0 | P2p1 |  |  | R11SAH JS3.01 w/storage VLAN
AUR11-S4810 | S4810 | 0/1 | SFP+ |  |  |  | 140, 170, 201-210 | r11rh7cntl1 | R620v2#2 |  | Bond0 | P2p1
AUR11-S4810 | S4810 | 0/2 | SFP+ |  |  |  | 140, 170, 201-210 | r11rh7cntl2 | R620v2#3 |  | Bond0 | P2p1 |  |  |  | Bond0 | Bond1 | Bond1 | Bond0
AUR11-S4810 | S4810 | 0/3 | SFP+ |  |  |  | 140, 170, 201-210 | r11rh7cntl3 | R620v2#4 |  | Bond0 | P2p1
AUR11-S4810 | S4810 | 0/4 | SFP+ |  |  |  | 140, 201-210, | r11rh7nova1 | R620v2#5 |  | Bond0 | P2p1
AUR11-S4810 | S4810 | 0/5 | SFP+ |  |  | 170 |  | r11rh7ss1 | R720XDv2#1 |  | Bond0 | P4p1
AUR11-S4810 | S4810 | 0/6 | SFP+ |  |  | 170 |  | r11rh7ss2 | R720XDv2#2 |  | Bond0 | P4p1
AUR11-S4810 | S4810 | 0/7 | SFP+ |  |  | 170 |  | r11rh7ss3 | R720XDv2#3 |  | Bond0 | P4p1
AUR11-S4810 | S4810 | 0/8 | SFP+ |  |  |  | 120, 140, 170, 190, | r11rh7sah | R620v2#1 |  | Bond0 | P3p1 |  |  | R11SAH JS3.01 w/storage VLAN |  |  |  |  | 158 a0:36:9f:36:1f:d4 Dynamic Te 0/2 Active
AUR11-S4810 |  | 0/9 | SFP+ |  |  |  | 140, 170, 201-210 | r11rh7cntl1 | R620v2#2 |  | Bond0 | P3p1 |  |  |  | Bond0 = | All VLANs & provisioner untagged |  |  | 158 a0:36:9f:36:dd:70 Dynamic Te 0/3 Active
AUR11-S4810 | S4810 | 0/10 | SFP+ |  |  |  | 140, 170, 201-210 | r11rh7cntl2 | R620v2#3 |  | Bond0 | P3p1 |  |  |  | Bond1 = | Nova Network Public |  |  | 158 a0:36:9f:36:e2:34 Dynamic Te 0/4 Active
AUR11-S4810 | S4810 | 0/11 | SFP+ |  |  |  | 140, 170, 201-210 | r11rh7cntl3 | R620v2#4 |  | Bond0 | P3p1 |  |  |  | Bond1 = | Nova Network Public |  |  | 158 a0:36:9f:36:e5:b4 Dynamic Te 0/1 Active
AUR11-S4810 | S4810 | 0/12 | SFP+ |  |  |  | 140, 201-210, | r11rh7nova1 | R620v2#5 |  | Bond0 | P3p1
AUR11-S4810 | S4810 | 0/13 | SFP+ |  |  | 170 |  | r11rh7ss1 | R720XDv2#1 |  | Bond0 | P6p1
AUR11-S4810 | S4810 | 0/14 | SFP+ |  |  | 170 |  | r11rh7ss2 | R720XDv2#2 |  | Bond0 | P6p1
AUR11-S4810 | S4810 | 0/15 | SFP+ |  |  | 170 |  | r11rh7ss3 | R720XDv2#3 |  | Bond0 | P6p1
AUR11-S4810 | S4810 | 0/16 | Empty
AUR11-S4810 | S4810 | 0/17 | Empty
AUR11-S4810 | S4810 | 0/18 | SFP+ |  |  | 157 |  | r11rh7sah | R620v2#1 |  | Bond1 | P2p2 |  |  | R11SAH Public
AUR11-S4810 | S4810 | 0/19 | SFP+ |  |  | 190 |  | r11rh7cntl1 | R620v2#2 |  | Bond1 | P2p2
AUR11-S4810 | S4810 | 0/20 | SFP+ |  |  | 190 |  | r11rh7cntl2 | R620v2#3 |  | Bond1 | P2p2
AUR11-S4810 | S4810 | 0/21 | SFP+ |  |  | 190 |  | r11rh7cntl3 | R620v2#4 |  | Bond1 | P2p2
AUR11-S4810 | S4810 | 0/22 | SFP+ |  |  | 170 |  | r11rh7nova1 | R620v2#5 |  | Bond1 | P2p2
AUR11-S4810 | S4810 | 0/23 | SFP+ |  |  | 180 |  | r11rh7ss1 | R720XDv2#1 |  | Bond1 | P4p2
AUR11-S4810 | S4810 | 0/24 | SFP+ |  |  | 180 |  | r11rh7ss2 | R720XDv2#2 |  | Bond1 | P4p2
AUR11-S4810 | S4810 | 0/25 | SFP+ |  |  | 180 |  | r11rh7ss3 | R720XDv2#3 |  | Bond1 | P4p2
AUR11-S4810 | S4810 | 0/26 | SFP+ |  |  | 157 |  | r11rh7sah | R620v2#1 |  | Bond1 | P3p2 |  |  | R11SAH Public
AUR11-S4810 | S4810 | 0/27 | SFP+ |  |  | 190 |  | r11rh7cntl1 | R620v2#2 |  | Bond1 | P3p2
AUR11-S4810 | S4810 | 0/28 | SFP+ |  |  | 190 |  | r11rh7cntl2 | R620v2#3 |  | Bond1 | P3p2
AUR11-S4810 | S4810 | 0/29 | SFP+ |  |  | 190 |  | r11rh7cntl3 | R620v2#4 |  | Bond1 | P3p2
AUR11-S4810 | S4810 | 0/30 | SFP+ |  |  | 170 |  | r11rh7nova1 | R620v2#5 |  | Bond1 | P3p2
AUR11-S4810 | S4810 | 0/31 | SFP+ |  |  | 180 |  | r11rh7ss1 | R720XDv2#1 |  | Bond1 | P6p2
AUR11-S4810 | S4810 | 0/32 | SFP+ |  |  | 180 |  | r11rh7ss2 | R720XDv2#2 |  | Bond1 | P6p2
AUR11-S4810 | S4810 | 0/33 | SFP+ |  |  | 180 |  | r11rh7ss3 | R720XDv2#3 |  | Bond1 | P6p2
AUR11-S4810 | S4810 | 0/34 | Empty
AUR11-S4810 | S4810 | 0/35 | Empty
AUR11-S4810 | S4810 | 0/36 | SFP+ |  |  |  | 110, 120, 140, 157, 170, 190, | R11-R720ESXi | R720 |  | ESXI All VLANs |  |  |  | R11ESXi - NIC-04
AUR11-S4810 | S4810 | 0/37 | SFP+ |  |  |  | 110, 120, 140, 157, 170, 190, | R11-R720ESXi | R720 |  | ESXI All VLANs |  |  |  | R11ESXi - NIC-05
AUR11-S4810 | S4810 | 0/38 | Empty
AUR11-S4810 | S4810 | 0/39 | Empty
AUR11-S4810 | S4810 | 0/40 | Empty |  |  | 170 |  | R11-CMPL | SC8000 |  |  | eth0 |  | Fiber | Compellent Array 192.168.170.250
AUR11-S4810 | S4810 | 0/41 | Empty |  |  | 170 |  | R11-CMPL | SC8000 |  |  | eth1 |  |  | Not connected
AUR11-S4810 | S4810 | 0/42 | Empty
AUR11-S4810 | S4810 | 0/43 | Empty
AUR11-S4810 | S4810 | 0/44 | SFP+ | R11 |  |  | 120, 157, 158, | R11-S55 | [6 empty] | Port Channel 1
AUR11-S4810 | S4810 | 0/45 | SFP+ | R11 |  |  | 120, 157, 158, | R11-S55 | [6 empty] | Port Channel 1
AUR11-S4810 | S4810 | 0/46 | Fiber | R11 |  | 120 | 110, 140, 170, 190, | AURCBDESX102 | c6105 rack#1 |  | 10GB fiber SAH i | vmnic 4 |  | blue | Fiber to R1 ESXi 10.148.44.102
AUR11-S4810 | S4810 | 0/47 | Fiber | R11 |  |  | 157, 158, | AURCBD-Core1 | S4810 |  | 10Gb Fiber Uplink | te ?? |  | blue | Fiber to AURCBD-Core1
AUR11-S4810 | S4810 | 0/48 | Empty
AUR11-S4810 | S4810 | 0/49 | Empty
AUR11-S4810 | S4810 | 0/50 | Empty
AUR11-S4810 | S4810 | 0/51 | Empty
AUR11-S4810 | S4810 | 0/52 | Empty
AUR11-S4810 | S4810 | 0/53 | Empty
AUR11-S4810 | S4810 | 0/54 | Empty
AUR11-S4810 | S4810 | 0/55 | Empty
AUR11-S4810 | S4810 | 0/56 | Empty
AUR11-S4810 | S4810 | 0/57 | Empty
AUR11-S4810 | S4810 | 0/58 | Empty
AUR11-S4810 | S4810 | 0/59 | Empty
AUR11-S4810 | S4810 | 0/60 | Empty
AUR11-S55 | S55 | 0/0 | RJ-45 | R11 |  | 120 |  | r11rh7sah | R620v2#1 |  |  | EM1 |  | Blue
AUR11-S55 | S55 | 0/1 | RJ-45 | R11 |  | 120 |  | r11rh7cntl1 | R620v2#2 |  | B8:CA:3A:6E:1F:54 | EM1 |  | Blue
AUR11-S55 | S55 | 0/2 | RJ-45 | R11 |  | 120 |  | r11rh7cntl2 | R620v2#3 |  | B8:CA:3A:6E:28:88 | EM1 |  | Blue
AUR11-S55 | S55 | 0/3 | RJ-45 | R11 |  | 120 |  | r11rh7cntl3 | R620v2#4 |  | B8:CA:3A:6E:26:80 | EM1 |  | Blue
AUR11-S55 | S55 | 0/4 | RJ-45 | R11 |  | 120 |  | r11rh7nova3 | R620v2#5 |  | B8:CA:3A:6E:00:F8 | EM1 |  | Blue
AUR11-S55 | S55 | 0/5 | RJ-45 | R11 |  | 120 |  | r11rh7ss1 | R720XDv2#1 |  | B8:CA:3A:6E:27:88 | EM1 |  | Blue
AUR11-S55 | S55 | 0/6 | RJ-45 | R11 |  | 120 |  | r11rh7ss2 | R720XDv2#2 |  | B8:CA:3A:6D:FC:84 | EM1 |  | Blue
AUR11-S55 | S55 | 0/7 | RJ-45 | R11 |  | 120 |  | r11rh7ss3 | R720XDv2#3 |  | B8:CA:3A:6E:35:7C | EM1 |  | Blue
AUR11-S55 | S55 | 0/8 | RJ-45 | R11 |  | Shutdown |  | r11rh7sah | R620v2#1 |  |  |  |  | Red
AUR11-S55 | S55 | 0/9 | RJ-45 | R11 |  | 110 |  | r11rh7cntl1 | R620v2#2 |  | B8:CA:3A:6E:1F:57 | EM4 |  | Red | iDRAC VLAN for Stoneith Cluster
AUR11-S55 | S55 | 0/10 | RJ-45 | R11 |  | 110 |  | r11rh7cntl2 | R620v2#3 |  | B8:CA:3A:6E:28:8B | EM4 |  | Red | iDRAC VLAN for Stoneith Cluster
AUR11-S55 | S55 | 0/11 | RJ-45 | R11 |  | 110 |  | r11rh7cntl3 | R620v2#4 |  | B8:CA:3A:6E:26:83 | EM4 |  | Red | iDRAC VLAN for Stoneith Cluster
AUR11-S55 | S55 | 0/12 | RJ-45 | R11 |  | 110 |  | r11rh7nova1 | R620v2#5 |  |  |  |  | Red
AUR11-S55 | S55 | 0/13 | RJ-45 | R11 |  | Shutdown |  | r11rh7ss1 | R720XDv2#1 |  |  |  |  | Red
AUR11-S55 | S55 | 0/14 | RJ-45 | R11 |  | Shutdown |  | r11rh7ss2 | R720XDv2#2 |  |  |  |  | Red
AUR11-S55 | S55 | 0/15 | RJ-45 | R11 |  | Shutdown |  | r11rh7ss3 | R720XDv2#3 |  |  |  |  | Red
AUR11-S55 | S55 | 0/16 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/17 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/18 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/19 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/20 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/21 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/22 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/23 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/24 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/25 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/26 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/27 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/28 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/29 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/30 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/31 | RJ-45 | R11 |  | Shutdown
AUR11-S55 | S55 | 0/32 | RJ-45 | R11 |  | 158 |  | Dell KVM | 2162-KVM |  | 10.148.45.59 | LAN1 |  | Green | R11 Dell KVM crowbar / Crowbar1
AUR11-S55 | S55 | 0/33 | RJ-45 | R11 |  | 110 |  | r11rh7sah | R620v2#1 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/34 | RJ-45 | R11 |  | 110 |  | r11rh7cntl1 | R620v2#2 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/35 | RJ-45 | R11 |  | 110 |  | r11rh7nova1 | R620v2#3 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/36 | RJ-45 | R11 |  | 110 |  | r11rh7nova2 | R620v2#4 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/37 | RJ-45 | R11 |  | 110 |  | r11rh7nova3 | R620v2#5 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/38 | RJ-45 | R11 |  | 110 |  | r11rh7ss1 | R720XDv2#1 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/39 | RJ-45 | R11 |  | 110 |  | r11rh7ss2 | R720XDv2#2 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/40 | RJ-45 | R11 |  | 110 |  | r11rh7ss3 | R720XDv2#3 |  |  | iDRAC |  | Yellow
AUR11-S55 | S55 | 0/41 | RJ-45 | R11 |  | 110 |  |  | R720 ESXi |  |  | iDRAC |  | Yellow | Not part of Stamp -
AUR11-S55 | S55 | 0/42 | RJ-45
AUR11-S55 | S55 | 0/43 | RJ-45
AUR11-S55 | S55 | 0/44 | Empty
AUR11-S55 | S55 | 0/45 | Empty
AUR11-S55 | S55 | 0/46 | Empty
AUR11-S55 | S55 | 0/47 | Empty
AUR11-S55 | S55 | 0/48 | Empty
AUR11-S55 | S55 | 0/49 | Empty
AUR11-S55 | S55 | 0/50 | SFP+ | R11 |  |  |  |  | S4810 |  |  |  |  | Black | Port Channel 1 uplink to S4810
AUR11-S55 | S55 | 0/51 | SFP+ | R11 |  |  |  |  | S4810 |  |  |  |  | Black | Port Channel 1 uplink to S4810

## General Configuration (hidden)
General Configuration
|  |  |  | Login Methods | Enable Methods | Exec Methods | Commands Methods | Config-Commands | Accounting | Spanning-Tree Protocols | STP Priorities | Timezone | SNMP Version | SNMP Permission | Syslog Facility
| Domain |  | Comments | Enable | Enable | If-authenticated | Local | Enabled | Tacacs+ | STP (802.1d) | N/A | PST (GMT -8:00) | 1 | Read-Only | auth
| Domain Name |  |  | Line | Line | Local | None | Disabled |  | RSTP (802.1w) | 0 | MST (GMT -7:00) | 2c | Read-Write | cron
| DNS Server 1 IP |  |  | Local | None | None | Tacacs+ |  |  | MSTP (802.1s) | 4096 | CST (GMT -6:00) | 3 |  | daemon
| DNS Server 2 IP |  |  | None | Radius | Radius |  |  |  | PVST+ (Third Party) | 8192 | EST (GMT -5:00) |  |  | kern
| DNS Server 3 IP |  |  | Radius | Tacacs+ | Tacacs+ |  |  |  | Rapid-PVST (Third Party) | 12288 | BRT (GMT -3:00) |  |  | local0
|  |  |  | Tacacs+ | [5 empty] | None | 16384 |  |  |  | local1
| AAA - Authentication, Authorization and Accounting | [9 empty] | 20480 |  |  |  | local2
| Authentication Login 1st Method | [9 empty] | 24576 |  |  |  | local3
| Authentication Login 2nd Method | [9 empty] | 28672 |  |  |  | local4
| Authentication Enable 1st Method | [9 empty] | 32768 |  |  |  | local5
| Authentication Enable 2nd Method | [9 empty] | 36864 |  |  |  | local6
| Authorization Exec 1st Method | [9 empty] | 40960 |  |  |  | local7 (Default)
| Authorization Exec 2nd Method | [9 empty] | 45056 |  |  |  | lpr
| Authorization Commands 1st Method | [9 empty] | 49152 |  |  |  | mail
| Authorization Commands 2nd Method | [9 empty] | 53248 |  |  |  | news
| Authorization Config-Commands | [9 empty] | 57344 |  |  |  | sys9
| Accounting Exec Start-Stop | [9 empty] | 61440 |  |  |  | sys10
| Accounting Commands Start-Stop | [13 empty] | sys11
| TACACS+/Radius Server1 | [13 empty] | sys12
| TACACS+/Radius Server2 | [13 empty] | sys13
| TACACS+/Radius Server3 | [13 empty] | sys14
| TACACS+/Radius Key | [13 empty] | syslog
user
| Spanning-Tree | [13 empty] | uucp
Spanning Tree Protocol
Current Root Bridge Priority
Time Settings
System Timezone
Internal NTP Server 1 IP (If existing)
Internal NTP Server 2 IP (If existing)
Internal NTP Server 3 IP (If existing)
Syslog
Syslog Server 1 IP (If required)
Syslog Server 2 IP (If required)
Syslog Server 3 IP (If required)
| Syslog Facility | local7 (Default)
SNMP
SNMP Location
SNMP Contact
SNMP v1/v2c Community
Permission
| Allowed IP Addresses | Any
SNMP v1/v2c Community
Permission
| Allowed IP Addresses | Any
SNMP v1/v2c Community
Permission
| Allowed IP Addresses | Any
SNMP v3 User
Authentication Password
Encryption Key
Permission
| Allowed IP Addresses | Any
SNMP v3 User
Authentication Password
Encryption Key
Permission
| Allowed IP Addresses | Any
Trap Destination IP
Version
Community
| UDP Port Number | 162
Trap Destination IP
Version
Community
| UDP Port Number | 162
Insert comments here.

## F10 S4810
|  |  |  | VLANs |  | STACK UNIT 0
Hostname | AUR8-S4810 |  |  | ID | Description | Interface |  | Destination |  | VLANs |  | LAG |  | Hostname | [9 empty] | R11-S4810 VLANs
Username | crowbar |  | 10.148.45.0/24 | 158 | OOB | Name | Connector | Device Name | Port | Untagged | Tagged | # | Mode | Username |  | Interface Type List | LAG # | LAG Mode | STP Mode | STP Root | STP Priorities | Stacking | VLT Priorities | NUM Status Description Q Ports
Password | cr0wBar! |  | 192.168.122.0/24 | 122 | Provisioner | Te 0/0 | 10G DAC (SFP+ SFP+) | RHOSP | 10G1 | - |  | - | - | Password |  | - Empty - | - | - | STP | Yes | 0 | Standalone | 1 | * 1 Active U Te 0/0-33,47
Firmware | 9.?? |  |  |  |  | Te 0/1 |  |  |  | - |  | - | - | Firmware |  | 1G Copper | 1 | LACP | RSTP | No | 4096 | VLT | 4096 | 122 Active R11-Provisioner T Po1(Te 0/44-45)
|  |  | 192.168.142.0/24 | 142 | Private API | Te 0/2 |  |  |  | - |  | - | - |  |  | 1G Fiber LX | 2 | Static | MSTP |  | 8192 | 2 Units Stack | 8192 | 142 Active Private_API_Network T Po1(Te 0/44-45)
STP Mode |  | RSTP | 10.148.44.0/24 | 157 | Public API | Te 0/3 |  |  |  | - |  | - | - | STP Mode | RSTP | 1G Fiber SX | 3 |  | PVST+ |  | 12288 | 3 Units Stack | 12288 | 157 Active NGN-157_Public_API T Po1(Te 0/44-45)
STP Root |  | Yes | 10.148.45.0/24 | 158 | Nova-Network-Public | Te 0/4 |  |  |  | - |  | - | - | STP Root | No | 1G Fiber ZX | 4 |  | Disabled |  | 16384 | 4 Units Stack | 16384 | T Te 0/47
STP Bridge Priority |  | 4096 | 192.168.192.0/24 | 192 | Storage Network | Te 0/5 |  |  |  | - |  | - | - | STP Bridge Priority | 8192 | 1G Internal | 5 |  |  |  | 20480 | 5 Units Stack | 20480 | U Te 0/36
|  |  | 192.168.130.0/24 |  | Nova-Network Private | Te 0/6 |  |  |  | - |  | - | - |  |  | 10G Copper | 6 |  |  |  | 24576 | 6 Units Stack | 24576 | 158 Active NGN-158_Nova_Net_Public T Po1(Te 0/44-45)
Stacking/VLT |  | VLT |  |  |  | Te 0/7 |  |  |  | - |  | - | - | Stacking/VLT | VLT | 10G Fiber ER | 7 |  |  |  | 28672 |  | 28672 | T Te 0/47
VLT Domain # |  | 1 |  | IP Addresses |  | Te 0/8 |  |  |  | - |  | - | - | VLT Domain # | 1 | 10G Fiber LR | 8 |  |  |  | 32768 |  | 32768 | 192 Active Storage_Network T Po1(Te 0/44-45)
VLT Unit ID |  | VLT |  | Interface | IP /Netmask | Te 0/9 | [5 empty] | - | - | VLT Unit ID | VLT | 10G Fiber SR | 9 |  |  |  | 36864 |  | 36864
VLT Primary Priority |  | 4096 |  | Management 0/0 |  | Te 0/10 | [5 empty] | - | - | VLT Primary Priority | 8192 | 10G DAC (SFP+ SFP+) | 10 |  |  |  | 40960 |  | 40960
|  |  |  | Vlan X |  | Te 0/11 | [5 empty] | - | - |  |  | 10G DAC (QSFP+ 4xSFP+) | 11 |  |  |  | 45056 |  | 45056
Comments |  |  |  | Vlan Y |  | Te 0/12 | [5 empty] | - | - | Comments |  | 10G Internal | 12 |  |  |  | 49152 |  | 49152
[6 empty] | Te 0/13 | [5 empty] | - | - |  |  | 40G Fiber LR4 | 13 |  |  |  | 53248 |  | 53248
[6 empty] | Te 0/14 | [5 empty] | - | - |  |  | 40G Fiber SR4 | 14 |  |  |  | 57344 |  | 57344
[6 empty] | Te 0/15 | [5 empty] | - | - |  |  | 40G Fiber SR4 + Breakout | 15 |  |  |  | 61440 |  | 61440
[6 empty] | Te 0/16 | [5 empty] | - | - |  |  | 40G DAC (QSFP+ QSFP+) | 16 |  |  |  | 65536 |  | 65536
[6 empty] | Te 0/17 | [5 empty] | - | - |  |  | Stack Cable | 17
|  |  |  | Routes |  | Te 0/18 | [5 empty] | - | - |  |  |  | 18
|  |  |  | Destination | Next Hop | Te 0/19 | [5 empty] | - | - |  |  |  | 19
|  |  |  | 0.0.0.0 /0 |  | Te 0/20 | [5 empty] | - | - |  |  |  | 20
[6 empty] | Te 0/21 | [5 empty] | - | - |  |  |  | 21
[6 empty] | Te 0/22 | [5 empty] | - | - |  |  |  | 22
[6 empty] | Te 0/23 | [5 empty] | - | - |  |  |  | 23
[6 empty] | Te 0/24 | [5 empty] | - | - |  |  |  | 24
[6 empty] | Te 0/25 | [5 empty] | - | - |  |  |  | 25
[6 empty] | Te 0/26 | [5 empty] | - | - |  |  |  | 26
[6 empty] | Te 0/27 | [5 empty] | - | - |  |  |  | 27
[6 empty] | Te 0/28 | [5 empty] | - | - |  |  |  | 28
[6 empty] | Te 0/29 | [5 empty] | - | - |  |  |  | 29
[6 empty] | Te 0/30 | [5 empty] | - | - |  |  |  | 30
[6 empty] | Te 0/31 | [5 empty] | - | - |  |  |  | 31
[6 empty] | Te 0/32 | [5 empty] | - | - |  |  |  | 32
[6 empty] | Te 0/33 | [5 empty] | - | - |  |  |  | 33
[6 empty] | Te 0/34 | [5 empty] | - | - |  |  |  | 34
[6 empty] | Te 0/35 | [5 empty] | - | - |  |  |  | 35
[6 empty] | Te 0/36 | [5 empty] | - | - |  |  |  | 36
[6 empty] | Te 0/37 | [5 empty] | - | - |  |  |  | 37
[6 empty] | Te 0/38 | [5 empty] | - | - |  |  |  | 38
[6 empty] | Te 0/39 | [5 empty] | - | - |  |  |  | 39
[6 empty] | Te 0/40 | [5 empty] | - | - |  |  |  | 40
[6 empty] | Te 0/41 | [5 empty] | - | - |  |  |  | 41
[6 empty] | Te 0/42 | [5 empty] | - | - |  |  |  | 42
[6 empty] | Te 0/43 | [10 empty] | 43
[6 empty] | Te 0/44 | [10 empty] | 44
[6 empty] | Te 0/45 | [10 empty] | 45
[6 empty] | Te 0/46 | [10 empty] | 46
[6 empty] | Te 0/47 | [10 empty] | 47
[6 empty] | fortyGig 0/48 |  | AURCBD-Core1 |  |  | 157-158 |  | Static |  |  |  | 48
[6 empty] | fortyGig 0/52 | [5 empty] | - | - |  |  |  | 49
[6 empty] | fortyGig 0/56 | [5 empty] | - | - |  |  |  | 50
[6 empty] | fortyGig 0/60 | [5 empty] | - | - |  |  |  | 51
[6 empty] | Management 0/0 | 1G Copper | Dell Corporate |  |  | crowbar / cr0wBar! | - | - |  |  |  | 52
53
54

## F10 S55
STACK UNIT 0
Hostname | AUR5-R720v2-S55 |  | VLANs |  | Interface |  | Destination |  | VLANs |  | LAG
Username | crowbar |  | ID | Description | Name | Connector | Device Name | Port | Untagged | Tagged | # | Mode | Interface Type List | LAG # | LAG Mode | STP Mode | STP Root | STP Priorities | Stacking | S55- VLANs
Password | cr0wBar! |  | 158 NGN | OOB | Gi 0/0 | 1G Copper | [5 empty] | - | - Empty - | - | - | STP | Yes | 0 | Standalone | NUM Status Description Q Ports
Firmware |  |  | 121 | Provisioner | Gi 0/1 | 1G Copper | [5 empty] | - | 1G Copper | 1 | LACP | RSTP | No | 4096 | 2 Units Stack | * 1 Active
[5 empty] | Gi 0/2 | 1G Copper | [5 empty] | - | 1G Fiber LX | 2 | Static | MSTP |  | 8192 | 3 Units Stack | 122 Active T Po1(Te 0/50-51)
STP Mode |  | RSTP |  |  | Gi 0/3 | 1G Copper | [5 empty] | - | 1G Fiber SX | 3 |  | PVST+ |  | 12288 | 4 Units Stack | U Gi 0/0-31
STP Root |  | No |  |  | Gi 0/4 | 1G Copper | [5 empty] | - | 1G Fiber ZX | 4 |  | Disabled |  | 16384 | 5 Units Stack | 142 Active T Po1(Te 0/50-51)
STP Bridge Priority |  | 12288 |  |  | Gi 0/5 | 1G Copper | [5 empty] | - | 1G Internal | 5 |  |  |  | 20480 | 6 Units Stack | T Gi 0/0-31
[5 empty] | Gi 0/6 | 1G Copper | [5 empty] | - | 10G Copper | 6 |  |  |  | 24576 | 7 Units Stack | 157 Active T Po1(Te 0/50-51)
Stacking |  | Standalone | IP Addresses |  | Gi 0/7 | 1G Copper | [5 empty] | - | 10G Fiber ER | 7 |  |  |  | 28672 | 8 Units Stack | T Gi 0/0-31
|  |  | Interface | IP /Netmask | Gi 0/8 | 1G Copper | [5 empty] | - | 10G Fiber LR | 8 |  |  |  | 32768 | 9 Units Stack | 158 Active T Po1(Te 0/50-51)
Comments |  |  | Management 0/0 |  | Gi 0/9 | 1G Copper | [5 empty] | - | 10G Fiber SR | 9 |  |  |  | 36864 | 10 Units Stack | T Gi 0/0-31
|  |  | Vlan X |  | Gi 0/10 | 1G Copper | [5 empty] | - | 10G DAC (SFP+ SFP+) | 10 |  |  |  | 40960 | 11 Units Stack | U Gi 0/32-41
|  |  | Vlan Y |  | Gi 0/11 | 1G Copper | [5 empty] | - | 10G DAC (QSFP+ 4xSFP+) | 11 |  |  |  | 45056 | 12 Units Stack | 192 Active T Po1(Te 0/50-51)
[5 empty] | Gi 0/12 | 1G Copper | [5 empty] | - | 10G Internal | 12 |  |  |  | 49152 |  | T Gi 0/0-31
[5 empty] | Gi 0/13 | 1G Copper | [5 empty] | - | 40G Fiber LR4 | 13 |  |  |  | 53248 |  | U Gi 0/42-43
[5 empty] | Gi 0/14 | 1G Copper | [5 empty] | - | 40G Fiber SR4 | 14 |  |  |  | 57344 |  | AUR11-S55# Port-Channel 1 = uplink to R11-S4810
[5 empty] | Gi 0/15 | 1G Copper | [5 empty] | - | 40G Fiber SR4 + Breakout | 15 |  |  |  | 61440
[5 empty] | Gi 0/16 | 1G Copper | [5 empty] | - | 40G DAC (QSFP+ QSFP+) | 16 |  |  |  | 65536
|  |  | Routes |  | Gi 0/17 | 1G Copper | [5 empty] | - | Stack Cable | 17
|  |  | Destination | Next Hop | Gi 0/18 | 1G Copper | [5 empty] | - |  | 18
|  |  | 0.0.0.0 /0 |  | Gi 0/19 | 1G Copper | [5 empty] | - |  | 19
[5 empty] | Gi 0/20 | 1G Copper | [5 empty] | - |  | 20
[5 empty] | Gi 0/21 | 1G Copper | [5 empty] | - |  | 21
[5 empty] | Gi 0/22 | 1G Copper | [5 empty] | - |  | 22
[5 empty] | Gi 0/23 | 1G Copper | [5 empty] | - |  | 23
[5 empty] | Gi 0/24 | 1G Copper | [5 empty] | - |  | 24
[5 empty] | Gi 0/25 | 1G Copper | [5 empty] | - |  | 25
[5 empty] | Gi 0/26 | 1G Copper | [5 empty] | - |  | 26
[5 empty] | Gi 0/27 | 1G Copper | [5 empty] | - |  | 27
[5 empty] | Gi 0/28 | 1G Copper | [5 empty] | - |  | 28
[5 empty] | Gi 0/29 | 1G Copper | [5 empty] | - |  | 29
[5 empty] | Gi 0/30 | 1G Copper | [5 empty] | - |  | 30
[5 empty] | Gi 0/31 | 1G Copper | [5 empty] | - |  | 31
[5 empty] | Gi 0/32 | 1G Copper | [5 empty] | - |  | 32
[5 empty] | Gi 0/33 | 1G Copper | [5 empty] | - |  | 33
[5 empty] | Gi 0/34 | 1G Copper | [5 empty] | - |  | 34
[5 empty] | Gi 0/35 | 1G Copper | [5 empty] | - |  | 35
[5 empty] | Gi 0/36 | 1G Copper | [5 empty] | - |  | 36
[5 empty] | Gi 0/37 | 1G Copper | [5 empty] | - |  | 37
[5 empty] | Gi 0/38 | 1G Copper | [5 empty] | - |  | 38
[5 empty] | Gi 0/39 | 1G Copper | [5 empty] | - |  | 39
[5 empty] | Gi 0/40 | 1G Copper | [5 empty] | - |  | 40
[5 empty] | Gi 0/41 | 1G Copper | [5 empty] | - |  | 41
[5 empty] | Gi 0/42 | - Empty - | [5 empty] | - |  | 42
[5 empty] | Gi 0/43 | - Empty - | [5 empty] | - |  | 43
[5 empty] | Gi 0/44 | - Empty - | [5 empty] | - |  | 44
[5 empty] | Gi 0/45 | - Empty - | [5 empty] | - |  | 45
[5 empty] | Gi 0/46 | - Empty - | [5 empty] | - |  | 46
[5 empty] | Gi 0/47 | - Empty - | [5 empty] | - |  | 47
[5 empty] | Te 0/48 | [6 empty] | - |  | 48
[5 empty] | Te 0/49 | - Empty - | [5 empty] | - |  | 49
[5 empty] | Te 0/50 | 10G DAC (SFP+ SFP+) | [7 empty] | 50
[5 empty] | Te 0/51 | 10G DAC (SFP+ SFP+) | [7 empty] | 51
[5 empty] | Management 0/0 | 1G Copper | [5 empty] | - |  | 52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128